## Inventory
Refrigerant Inventory
IFF, Sricity (Flavour and Utility)
Sr.No | equipmentId | manufacturer | model | subloaction | type | Rtype | charge
1 | SAC-RMFL-01 | Carrier | CAI18DF3N8FO | RMFL Office | Split AC | R-410 A | 0.85
2 | SAC-RMFL-02 | Carrier | CAI18DF3N8FO | RMFL Office | Split AC | R-410 A | 0.85
3 | SAC-RMFL-HYG-01 | Carrier | CI243R3DC90 | RMFL Hygiene | Split AC | R-32 | 0.92
4 | SAC-RMFL-MCC-01 | Carrier | CI243R3DC90 | RMFL MCC | Split AC | R-32 | 0.92
5 | SAC-RMFL-MCC-02 | Carrier | CI243R3DC90 | RMFL MCC | Split AC | R-32 | 0.92
6 | SAC-RMFL-MCC-03 | Carrier | CI243R3DC90 | RMFL MCC | Split AC | R-32 | 0.92
7 | AHU-RMFL-REC-2 | Carrier | CR-AECM 275Z | RMFL Powder | Dx unit | R-404 A | 2.92
8 | AHU-RMFL-REC-2 | Carrier | CR-AECM 275Z | RMFL Powder | Dx unit | R-404 A | 2.92
9 | SAC-FL-ENG-01 | Carrier | CAI18DF3N8FO | Maintenance Office | Split AC | R-410 A | 0.85
10 | SAC-FL-ENG-02 | Carrier | CAI18DF3N8FO | Maintenance Office | Split AC | R-410 A | 0.85
11 | SAC-FGFL-01 | Carrier | CAI18DF3N8FO | FGFL Office Room | Split AC | R-410 A | 0.85
12 | SAC-FGFL-02 | Carrier | CAI18DF3N8FO | FGFL Office Room | Split AC | R-410 A | 0.85
13 | AHU-FGFL-1 | Carrier | 38LH-066GSB | FLFG Powder | Dx unit | R-410 A | 3.5
14 | AHU-FGFL-1 | Carrier | 38LH-066GSB | FLFG Powder | Dx unit | R-410 A | 3.5
15 | SAC-FGFL-LAB-01 | Bluestar | BO-5CNHW18DAFU | Sample Lab | Split Ac | R-410 A | 1.2
16 | SAC-FGFL-LAB-02 | Bluestar | BO-5CNHW18DAFU | Sample Lab | Split Ac | R-410 A | 1.2
17 | TAC-FL-PCC-01 | Daikin | RR14ODGXY16 | FL PCC Transformer | Tower Ac | R-410 A | 2.9
18 | AHU-LQFL-RECCF-1C | Carrier | 51MSG-048GSB | FL Liquid Office | Dx unit | R-410 A | 2.9
19 | SAC-LQFL-OF-01 | Daikin | RKM60UV | FL Liquid Office | Split Ac | R-32 | 1.1
20 | SAC-FL-ADM-MCC-01 | Daikin | RKL71TV16T | Admin MCC | Split Ac | R-32 | 1.05
21 | SAC-FL-ADM-MCC-02 | Daikin | RKL71TV16T | Admin MCC | Split Ac | R-32 | 1.05
22 | CAS-FL-CHE-01 | Daikin | RZVF50BRV16 | Creche | Split Ac | R-32 | 1.05
23 | CAS-FL-CHE-02 | Daikin | RZVF71BRV16 | Creche | Split Ac | R-32 | 1.05
24 | ACC-01 | York | CTS70-DBAE400/200 | FR Terrace | Chiller | R134A | 159
25 | ACC-01 | York | CTS51-DBAE400/200 | FR Terrace | Chiller | R134A | 140
26 | ACC-02 | York | CTS70-DBAE400/200 | FR Terrace | Chiller | R134A | 159
27 | ACC-02 | York | CTS51-DBAE400/200 | FR Terrace | Chiller | R134A | 140
28 | ZDS-80 | Daikin | RXQ14ARY6 & RXQ14ARY6 | Admin ODU | Dx unit | R-410 A | 17.08
29 | ZDS-60 | Daikin | RXQ14ARY6 & RXQ16ARY6 | Cafeteria | Dx unit | R-410 A | 14.76
30 | CAS-FL-ADM-01 | Daikin | RXQ20ARY6 | Admin meeting room | Dx unit | R-410 A | 15.97
31 | RTU-FL-HYG-01 | Daikin | RXQ10ARY6 | Men's locker room | Dx unit | R-410 A | 3.62
32 | TFA-LQFL-OT-01 | Carrier | 38LH-102GSB | FL- Terrace HSRO room | AHU | R-410 A | 8.2
33 | TFA-LQFL-OT-02 | Carrier | 38LH-102GSB | FL- Terrace HSRO room | AHU | R-410 A | 5.9
34 | ZDS-30 | Daikin | RXQ16ARY6 | QC-Lab | AHU | R-410 A | 6.99
35 | ZDS-10 | Daikin | RXQ8ARY6 | QC-Lab | AHU | R-410 A | 0.37
36 | SAC-ETP-OF-01 | Carrier | CAI18DF3N8FO | ETP | Split Ac | R-410 A | 0.85
37 | SAC-FL-ADM-SR-01 | Daikin | RKL71TV16T | Server Room | Split Ac | R-32 | 1
38 | SAC-FL-ADM-SR-02 | Daikin | RKL71TV16T | Server Room | Split Ac | R-32 | 1
39 | SAC-FL-ADM-SR-03 | Daikin | RKM60UV | Server Room | Split Ac | R-32 | 1
40 | SAC-FGFL-MCC-01 | Carrier | CI243R3DC90 | FG MCC Room | Split Ac | R-32 | 0.92
41 | SAC-FGFL-MCC-02 | Carrier | CI243R3DC90 | FG MCC Room | Split Ac | R-32 | 0.92
42 | SAC-FGFL-MCC-03 | Carrier | CI243R3DC90 | FG MCC Room | Split Ac | R-32 | 0.92
43 | SAC-POFL-OF-01 | Carrier | CAI18DF3N8FO | POFL office | Split Ac | R-410 A | 1.02
44 | CLR-QCFL-01 | Cruise | KCM519CAL-E510H | Qc cold-room | Refrigeration module | R-404 A | 10.02
45 | CLR-QCFL-02 | Cruise | KCM519CAL-E510H | Qc cold-room | Refrigeration module | R-404 A | 10.02
46 | CLR-QCFL-03 | Cruise | KCM519CAL-E510H | Qc cold-room | Refrigeration module | R-404 A | 10.02
47 | CLR-N2FL-01 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8
48 | CLR-N2FL-02 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8
49 | CLR-N2FL-03 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8
50 | CLR-N2FL-04 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8
51 | CLR-RMFL-01 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12
52 | CLR-RMFL-02 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12
53 | CLR-RMFL-03 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12
54 | CLR-RMFL-04 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12
55 | CLR-RMFL-05 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12
56 | CLR-RMFL-06 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12
57 | CLR-LQFL-01 | Cruise | KCM519CAL-E510H | LQFL cold-room | Refrigeration module | R-404 A | 9.2
58 | CLR-LQFL-02 | Cruise | KCM519CAL-E510H | LQFL cold-room | Refrigeration module | R-404 A | 9.2
59 | CLR-LQFL-03 | Cruise | KCM519CAL-E510H | LQFL cold-room | Refrigeration module | R-404 A | 9.2
60 | DHFU-POFL-SGR-01 | Bluestar | DSA361R2-O | Powder Sugar | Dx unit | R-407 C | 0.85
61 | DHFU-POFL-SGR-02 | Emerson | KHR522PQB | Powder Sugar | Dx unit | R-407 C | 0.85
62 | SAC-OHC-01 | Carrier | CAI18DF3N8FO | OHC | Split Ac | R-410 A | 0.9
63 | SAC-OHC-02 | Carrier | CAI18DF3N8FO | OHC | Split Ac | R-32 | 0.85
64 | SAC-SEC-01 | Carrier | CAI18DF3N8FO | Security visitor room | Split Ac | R-32 | 0.85
65 | SAC-SEC-02 | Carrier | CAI18DF3N8FO | Security office | Cassette unit | R-410 A | 0.85
66 | SAC-SEC-BAT-01 | Carrier | CAI18DF3N8FO | Security battery room | Split Ac | R-410 A | 0.85
67 | SAC-SEC-BAT-02 | Carrier | CAI18DF3N8FO | Security battery room | Split Ac | R-410 A | 0.85
68 | GLCH-01 | J&E | GES3121.1F-M | FL terrace | Glycol chiller | R-404 A | 65
69 | STN-LQFL-01 | Cruise | KCM515LAL-E51OH | Stench Room | Stench cabinet | R-404 A | 10.8
70 | TAC-ETP-MCC-01 | Daikin | RR14ODGXY16 | Etp mcc room | Tower Ac | R-410 A | 2.9

## Service record
Refrigerant Inventory
IFF, Sricity (Flavour and Utility)
Sr.No | Equipment Name | Equipment ID | Make | Model | Location | Type | Refrigerant | Full charge In Kg | Refrigerant Type | GWP No | Date of Maintenance | Type of Mainteance | Method of determining full charge amount | Date of determination | Installed by | Serviced by | Quantity of gas added | Results of leak test | Measures taken to recover and dispose of gases when you dispose of the equipment
1 | Air Conditioning Unit | SAC-RMFL-01 | Carrier | CAI18DF3N8FO | RMFL Office | Split AC | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 | Breakdown | Manufacturer’s specification | 2024-03-01 | Avant grade | ACME |  | No leakage | Not applicable
2 | Air Conditioning Unit | SAC-RMFL-02 | Carrier | CAI18DF3N8FO | RMFL Office | Split AC | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  | Leakage identified | Not applicable
3 | Air Conditioning Unit | SAC-RMFL-HYG-01 | Carrier | CI243R3DC90 | RMFL Hygiene | Split AC | R-32 | 0.92 | HCFCs | 1810 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
4 | Air Conditioning Unit | SAC-RMFL-MCC-01 | Carrier | CI243R3DC90 | RMFL MCC | Split AC | R-32 | 0.92 | HCFCs | 1810 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
5 | Air Conditioning Unit | SAC-RMFL-MCC-02 | Carrier | CI243R3DC90 | RMFL MCC | Split AC | R-32 | 0.92 | HCFCs | 1810 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
6 | Air Conditioning Unit | SAC-RMFL-MCC-03 | Carrier | CI243R3DC90 | RMFL MCC | Split AC | R-32 | 0.92 | HCFCs | 1810 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
7 | Air Handling Unit | AHU-RMFL-REC-2 | Carrier | CR-AECM 275Z | RMFL Powder | Dx unit | R-410 A | 2.92 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
8 | Air Handling Unit | AHU-RMFL-REC-2 | Carrier | CR-AECM 275Z | RMFL Powder | Dx unit | R-410 A | 2.92 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
9 | Air Conditioning Unit | SAC-FL-ENG-01 | Carrier | CAI18DF3N8FO | Maintenance Office | Split AC | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
10 | Air Conditioning Unit | SAC-FL-ENG-02 | Carrier | CAI18DF3N8FO | Maintenance Office | Split AC | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
11 | Air Conditioning Unit | SAC-FGFL-01 | Carrier | CAI18DF3N8FO | FGFL Office Room | Split AC | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
12 | Air Conditioning Unit | SAC-FGFL-02 | Carrier | CAI18DF3N8FO | FGFL Office Room | Split AC | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
13 | Air Handling Unit | AHU-FGFL-1 | Carrier | 38LH-066GSB | FLFG Powder | Dx unit | R-410 A | 3.5 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
14 | Air Handling Unit | AHU-FGFL-1 | Carrier | 38LH-066GSB | FLFG Powder | Dx unit | R-410 A | 3.5 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
15 | Air Conditioning Unit | SAC-FGFL-LAB-01 | Bluestar | BO-5CNHW18DAFU | Sample Lab | Split Ac | R-410 A | 1.2 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
16 | Air Conditioning Unit | SAC-FGFL-LAB-02 | Bluestar | BO-5CNHW18DAFU | Sample Lab | Split Ac | R-410 A | 1.2 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
17 | Air Conditioning Unit | TAC-FL-PCC-01 | Daikin | RR14ODGXY16 | FL PCC Transformer | Tower Ac | R-410 A | 2.9 | HFCs | 2027 | 2023-05-05 |  | Manufacturer’s specification | 2024-03-01 | Acme HVAC |  |  |  | Not applicable
18 | Air Handling Unit | AHU-LQFL-RECCF-1C | Carrier | 51MSG-048GSB | FL Liquid Office | Dx unit | R-410 A | 2.9 | HFCs | 1810 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
19 | Air Conditioning Unit | SAC-LQFL-OF-01 | Daikin | FTKM60UV | FL Liquid Office | Split Ac | R-32 | 1.1 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
20 | Air Conditioning Unit | SAC-FL-ADM-MCC-01 | Daikin | RKL71TV16T | Admin MCC | Split Ac | R-32 | 1.05 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
21 | Air Conditioning Unit | SAC-FL-ADM-MCC-02 | Daikin | RKL71TV16T | Admin MCC | Split Ac | R-32 | 1.05 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
22 | Air Conditioning Unit | CAS-FL-CHE-01 | Daikin | RZVF50BRV16 | Creche | Split Ac | R-32 | 1.05 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
23 | Air Conditioning Unit | CAS-FL-CHE-02 | Daikin | RZVF71BRV16 | Creche | Split Ac | R-32 | 1.05 | HFCs | 1430 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
24 | Air cooled Chiller | ACC-01 | York | CTS70-DBAE400/200 | FR Terrace | Chiller | R134A | 159 | HFCs | 1430 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
25 | Air cooled Chiller | ACC-01 | York | CTS51-DBAE400/200 | FR Terrace | Chiller | R134A | 140 | HFCs | 1430 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
26 | Air cooled Chiller | ACC-02 | York | CTS70-DBAE400/200 | FR Terrace | Chiller | R134A | 159 | HFCs | 1430 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
27 | Air cooled Chiller | ACC-02 | York | CTS51-DBAE400/200 | FR Terrace | Chiller | R134A | 140 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
28 | Air Handling Unit | ZDS-80 | Daikin | RXQ14ARY6 & RXQ14ARY6 | Admin ODU | Dx unit | R-410 A | 17.08 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
29 | Air Handling Unit | ZDS-60 | Daikin | RXQ14ARY6 & RXQ16ARY6 | Cafeteria | Dx unit | R-410 A | 14.76 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
30 | Air Handling Unit | CAS-FL-ADM-01 | Daikin | RXQ20ARY6 | Admin meeting room | Dx unit | R-410 A | 15.97 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
31 | Air Handling Unit | RTU-FL-HYG-01 | Daikin | RXQ10ARY6 | Men's locker room | Dx unit | R-410 A | 3.62 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
32 | Air Handling Unit | TFA-LQFL-OT-01 | Daikin | 38LH-102GSB | FL- Terrace HSRO room | AHU | R-410 A | 8.2 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
33 | Air Handling Unit | TFA-LQFL-OT-02 | Daikin | 38LH-102GSB | FL- Terrace HSRO room | AHU | R-410 A | 5.9 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
34 | Air Handling Unit | ZDS-30 | Daikin | RXQ16ARY6 | QC-Lab | AHU | R-410 A | 6.99 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
35 | Air Handling Unit | ZDS-10 | Daikin | RXQ8ARY6 | QC-Lab | AHU | R-410 A | 0.37 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
36 | Air Conditioning Unit | SAC-ETP-OF-01 | Carrier | CAI18DF3N8FO | ETP | Split Ac | R-410 A | 0.85 | HFCs | 1810 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
37 | Air Conditioning Unit | SAC-FL-ADM-SR-01 | Daikin | RKL71TV16T | Server Room | Split Ac | R-32 | 1 | HCFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
38 | Air Conditioning Unit | SAC-FL-ADM-SR-02 | Daikin | RKL71TV16T | Server Room | Split Ac | R-32 | 1 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
39 | Air Conditioning Unit | SAC-FL-ADM-SR-03 | Daikin | RKL71TV16T | Server Room | Split Ac | R-32 | 1 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Beyond Design |  |  |  | Not applicable
40 | Air Conditioning Unit | SAC-FGFL-MCC-01 | Carrier | CI243R3DC90 | FG MCC Room | Split Ac | R-32 | 0.92 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
41 | Air Conditioning Unit | SAC-FGFL-MCC-02 | Carrier | CI243R3DC90 | FG MCC Room | Split Ac | R-32 | 0.92 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
42 | Air Conditioning Unit | SAC-FGFL-MCC-03 | Carrier | CI243R3DC90 | FG MCC Room | Split Ac | R-32 | 0.92 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
43 | Air Conditioning Unit | SAC-POFL-OF-01 | Carrier | CAI18DF3N8FO | POFL office | Split Ac | R-410 A | 1.02 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
44 | Cold Room air conditioner | CLR-QCFL-01 | Cruise | KCM519CAL-E510H | Qc cold-room | Refrigeration module | R-404 A | 10.02 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
45 | Cold Room air conditioner | CLR-QCFL-02 | Cruise | KCM519CAL-E510H | Qc cold-room | Refrigeration module | R-404 A | 10.02 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
46 | Cold Room air conditioner | CLR-QCFL-03 | Cruise | KCM519CAL-E510H | Qc cold-room | Refrigeration module | R-404 A | 10.02 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
47 | Cold Room air conditioner | CLR-N2FL-01 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
48 | Cold Room air conditioner | CLR-N2FL-02 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
49 | Cold Room air conditioner | CLR-N2FL-03 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
50 | Cold Room air conditioner | CLR-N2FL-04 | Cruise | KCM519CAL-E510H | N2 cold-room | Refrigeration module | R-404 A | 10.8 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
51 | Cold Room air conditioner | CLR-RMFL-01 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
52 | Cold Room air conditioner | CLR-RMFL-02 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
53 | Cold Room air conditioner | CLR-RMFL-03 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
54 | Cold Room air conditioner | CLR-RMFL-04 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
55 | Cold Room air conditioner | CLR-RMFL-05 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
56 | Cold Room air conditioner | CLR-RMFL-06 | Cruise | ZP76KQE-TFD524 | RMFL cold-room | Refrigeration module | R-404 A | 11.12 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
57 | Cold Room air conditioner | CLR-LQFL-01 | Cruise | KCM519CAL-E510H | LQFL cold-room | Refrigeration module | R-404 A | 9.2 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
58 | Cold Room air conditioner | CLR-LQFL-02 | Cruise | KCM519CAL-E510H | LQFL cold-room | Refrigeration module | R-404 A | 9.2 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
59 | Cold Room air conditioner | CLR-LQFL-03 | Cruise | KCM519CAL-E510H | LQFL cold-room | Refrigeration module | R-404 A | 9.2 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
60 | Dehumidifier | DHFU-POFL-SGR-01 | Bluestar | DSA361R2-O | Powder Sugar | Dx unit | R-407 C | 0.85 | HFCs | 1774 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
61 | Dehumidifier | DHFU-POFL-SGR-02 | Emerson | KHR522PQB | Powder Sugar | Dx unit | R-407 C | 0.85 | HFCs | 1774 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
62 | Air Conditioning Unit | SAC-OHC-01 | Carrier | CAI18DF3N8FO | OHC | Split Ac | R-410 A | 0.9 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
63 | Air Conditioning Unit | SAC-OHC-02 | Carrier | CAI18DF3N8FO | OHC | Split Ac | R-32 | 0.85 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
64 | Air Conditioning Unit | SAC-SEC-01 | Carrier | CAI18DF3N8FO | Security visitor room | Split Ac | R-32 | 0.85 | HFCs | 472 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
65 | Air Conditioning Unit | SAC-SEC-02 | Carrier | CAI18DF3N8FO | Security office | Cassette unit | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
66 | Air Conditioning Unit | SAC-SEC-BAT-01 | Carrier | CAI18DF3N8FO | Security battery room | Split Ac | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
67 | Air Conditioning Unit | SAC-SEC-BAT-02 | Carrier | CAI18DF3N8FO | Security battery room | Split Ac | R-410 A | 0.85 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
68 | Glycol Chiller | GLCH-01 | J&E | GES3121.1F-M | FL terrace | Glycol chiller | R-410 A | 65 | HFCs | 2027 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
69 | Cold cabinet | STN-LQFL-01 | Cruise | KCM515LAL-E51OH | Stench Room | Stench cabinet | R-404 A | 10.8 | HFCs | 3920 | 2020-08-01 |  | Manufacturer’s specification | 2024-03-01 | Avant grade |  |  |  | Not applicable
70 | Air Handling Unit | TAC-ETP-MCC-01 | Daikin | RR14ODGXY16 | Etp mcc room | Tower Ac | R-410 A | 2.9 | HFCs | 2027 | 2024-03-01 |  | Manufacturer’s specification | 2024-04-01 | Sham Engenering